CENTRAL BANK OF INDIA REGIONAL OFFICE CHHINDWARA TENDER DOCUMENT Tender Reference Number RO/RCC/2023-24/98 Date: 07.03.2024 Tender for AMC and related services of UPS in the different branches/offices under Chhindwara Regional Office.

REQUEST FOR PROPOSAL

Dated: 07 Mrach 2024

TENDER FOR AMC AND RELATED SERVICES of UPS IN THE DIFFERENT BRANCHES/OFFICES UNDER CENTRAL BANK OF INDIA, CHHINDWARA REGIONAL OFFICE

| DETAILS | EMD(₹) | Last date of Submission |
| --- | --- | --- |
| Comprehensive On-Site Maintenance Contract for Maintenance of Uninterruptible Power-supply Systems installed at various Branches, Offices under Chhindwara Regional Office | 5,000/- | 28/03/2024 |
| Non Refundable Tender Fees for Comprehensive On-Site Maintainance Contract for Maintenance of Uninterruptible Power-Supply Systems installed at various Branches, Offices under Chhindwara Regional Office. | 500/- | 28/03/2024 |

Dear Sirs,

Central Bank of India, a body corporate constituted under the Banking Companies (Requisition and Transfer of Undertaking) Act 1970 having its Central Office at Chander Mukhi, Nariman Point, Mumbai-400021 hereinafter called "Bank" and having 59 Regional Offices (RO), 13 Zonal Offices (ZO) and more than 5000 Offices/Branches in India,

Central Bank of India, Chhindwara Regional Office is having 53 Branches and other administrative offices spread over Chhindwara, Balaghat and Seoni district. All the Branches are equipped with UPS/Batteries for uninterrupted power supply for PCs and other peripherals.

Sealed Tenders are invited from experienced and reputed companies / Firms for Comprehensive On-Site Maintenance of Uninterruptible Power-supply Systems at various Branches / Offices situated in the District of Chhindwara, Balaghat and Seoni under the control of Chhindwara Regional Office. The Office wise Details of systems is given in Annexure ‘A’.

Eligibility Criteria:

The Firms / Companies fulfilling the following Terms and Conditions may submit their bids super-scribed as “Quotation for Comprehensive AMC of UPS” addressed to the Regional Manager, Central Bank of India, Regional Office, Near Punjab Bhavan, Narsingpur Road, Chhindwara 480001.

- The eligible bidder must have a service center preferably in Chhindwara where the service is to be rendered.

- The bidder must have at least, Two (preferably Three) Qualified and experienced Service Engineers each catering to Chhindwara, Balaghat and Seoni District. (Name, Qualification, Experience and Place of Posting to be mentioned)

- The Firms / Companies should have at least 5 years experience of undertaking Annual Maintenance Contract in PSU Banks / Financial Institutions handling more than 100 UPS. (Proof to be attached)

- The bidder must have valid GSTN No, which is required for the purpose of payment. Copies of their PAN/TAN/Service Tax Registration Certificate etc are to be enclosed.

- The bidder must not have been blacklisted by any Public Sector Bank or other Govt Organization in the past. A self declaration letter by the Bidder, on the Company’s letter head should be submitted along with the bid.

- The Firms / Company will have to provide a list of engineers who will perform the job along with their resume and qualifications, Identity and KYC documents, within 10 days, once the Firm/Company is selected.

- The bidder should be making net profit for the last two years. Audited financial statements like Balance sheet, Profit and loss should be submitted.

Bidders will have to submit required documentary proof which is acceptable to bank for all the aspects of eligibility criteria mentioned above.

Submission of Bids:

- The Technical / Commercial bids should be in two separate sealed covers clearly marked as ‘TECHNICAL BID’ and ‘COMMERCIAL BID’.

- The bid has to be accompanied by Demand Drafts/PaySlips towards Earnest Money Deposit (EMD) of ₹ 5,000/- (Rupees Five Thousand only) favoring RO Chhindwara Expenses, payable at Chhindwara. Such Demand Drafts or Payslips should be in separate third cover marked as 'EARNEST MONEY DEPOSIT'. Bids without proper EMD will liable to be rejected summarily.

- The TECHNICAL BID should include the name and address of the Firm / Company, details of past experience and list of offices where they have been performing such duties along with the supporting documents / certificates. Technical Bids should not contain any commercial quotes. If any Technical Bid contain any information of commercial interest, the bid is liable to be rejected summarily.

- The COMMERCIAL BID should contain the rate against each item separately. Envelop of Commercial Bid should contain (a) duly filled-in Annexure A and (b) Annexure C.

- Technical and Commercial bids should be in clear words, categorically mentioning each and every terms specifying the rates, etc. Any kind of ambiguous/obscure/ unclear/ additional terms may lead to the bid being disqualified.

- All the annexures should be attached to the BIDs properly.

- Audited balance sheet and profit and loss statements should be attached for the last 2 years.

- The Bank reserves the right to reject any or all the tenders without assigning any reasons.

- The sealed tenders must be submitted by 28/03/2024 by 1400 hrs. at Central Bank of India, Regional Office, Near Punjab Bhavan, Narsingpur Road, Chhindwara - 480001.

- Opening of Technical Bids will be done on 28/03/2024 at 1500 hrs Central Bank of India, Regional Office, Near Punjab Bhavan, Narsingpur Road, Chhindwara - 480001.

Opening of Commercial Bids:

- Only those bids which are found to be technically feasible and abide all the terms and conditions applicable as mentioned hitherto will be informed. Only these bidders will be eligible for opening of price/commercial bids.

- The Technical Bids will be evaluated as per eligibility criteria. Thereafter the Bank reserves the right of selection of Vendor by Opening of Commercial Bids of vendors, who are found eligible after evaluation of Technical Bids.

- After opening of price/commercial bids and declaring the prices, the Bank will evaluate and compare the Price/commercial bids.

- Arithmetical errors will be rectified on the following basis: If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail, and the total price shall be corrected by updating sum total of individual items. If the Successful Bidder does not accept the correction of the errors, its Bid will be rejected, and its EMD may be forfeited. If there is a discrepancy between words and figures, the amount in words will prevail.

- The Bank’s evaluation of a Price/commercial bid will take into account, in addition to the Bid price quoted, one or more of the following factors:

- Deviations in payment schedule

- Deviation in prices quoted

- In case two or more bidders are found to have quoted the same lowest evaluated price, the Bank may call for only price/commercial bids afresh from only those lowest evaluated bidders. The process may be repeated till a single L1 vendor is arrived at.

Other Terms and Conditions:

  - The contract will be on comprehensive onsite basis inclusive of repairs and replacement of spare parts including all transformers, circuit cards, cooling fans, wires, cables etc. in case of UPS.

  - The contract will be effective for a period of Three years from 01/04/2024, which may be extended by the Bank for further period of up to 1 year on the same terms and conditions, depending up on satisfactory service by the vendor.  However, PO will be issued for twelve months for 2024-25 and after the expiry; PO will be issued on yearly basis for rest of the period. The vendor will have to enter into necessary contract with the bank, prior to this date. The format of Annual Maintenance Contract is as per Annexure-E, which is just an indicative one and the final format may be obtained from the bank. However, any party may opt out of the agreement by serving at least 3 months of prior notice.

  - The vendor shall be responsible for any loss or damage caused to any of the UPS owing to negligence on his part, and thus liable to compensate.

- The service engineers will be required to be available on all working days (Monday to Saturday) during the office hours from 9.00 a.m. to 7.00 p.m. (other than bank holidays and 2nd and 4th Saturday). The engineers may also have to work on holidays and after office hours, if necessary. The engineers should be equipped with mobile phones at vendor's cost for quick communication, and the numbers should be shared with the Bank. In addition to the Service Engineers, we will require a call coordinator at vendor’s site who will register, assign, track and monitor all calls for all the above locations of the Bank. It will be the duty of the call coordinator to ensure that all calls are closed within the specified time limit.

- The Service Engineers should have a minimum qualification of having passed Higher Secondary (12th) examination (or equivalent) of any Board and have a certificate of having successfully completed related vocational course. All employees of vendor must be Major.

- The vendor is required to carry out Periodic Preventive Maintenance activities (minimum once in a quarter) on all the equipment under AMC.

- This includes periodic cleaning and replacement of parts including all transformers, circuit cards, cooling fans, wires and cables without any extra payment.

- Apart from this the battery maintenance should also be taken up along with the UPS maintenance.

- During this time, the AMC vendor will have to send service personnel to clean-up/blow the UPS at each branch and Office.

- The earthing should be checked and the reading should be mentioned in the Preventive maintenance report. Any abnormalities found should be immediately brought to the notice of the Branch manager and GAD/BSD department of Regional Office.

- It shall be the responsibility of the vendor to make all the UPS systems work satisfactorily throughout the contract period and to hand over the systems in working condition to the Bank after expiry of the contract. In case any damage is found, the firm is liable to rectify it even after the expiry of the AMC contract.

- Different makes/models of UPS are being offered for maintenance. Vendors should be equipped to maintain systems of different manufacturers.

- The rates quoted should cover onsite maintenance of the UPS system, costs of replacement parts and cost of personnel and parts, etc.

- While shifting any hardware out of the Bank’s premises for repairs, the vendor will have to arrange for suitable replacement/standby of the respective material hardware, to enable un-interrupted services at branch/Office.

- Bank may decide to add or remove certain items or certain branches/localities from the AMC at any point of time during the contract. Payment for any inclusion / deletion of such items during the AMC period will be calculated on pro-rata basis. No advance payment of AMC charges will be made in any case.

- The payment will be released on quarterly basis by the respective branch/office, subject to the vendor submitting, ‘Satisfactory Service Reports’ of the respective branch / office. Branch will  be bound to release payment whose satisfactory service reports were submitted to their respective branch/office.

- During the currency of tenure of AMC, some of the hardware items may attain ‘end of life’. The vendor will be required to notify to the Bank list of such assets minimum one year before discontinuation of such assets from maintenance, to enable Bank procure replacement hardware. Maintenance charges will not be payable on such discontinued hardware, from date of discontinuation.

- Replacement of parts will be at the vendor’s cost with brand-new original spares of the brand / make / model of the UPS or reputed makes with best quality spares. AMC vendor should keep sufficient spares at their premises and should provide replacement parts within a reasonable period and in no case more than 24 hours from call logging. The maximum time for resolving down calls will be 24 hours. If the resolution is to take beyond above specified time limits, vendor is obliged to provide standby arrangement for the UPS till the unit is repaired. If the down calls are not resolved within the above time limit and in case standby is not provided, a penalty of Rs.250 per day per item will be levied, Rs.400 per day will be levied if not resolved within 48 hours & Rs.500 per day per item beyond 60 hours from the date of breakdown call.

- In case the vendor is not able to accept the contract after it is awarded to him or if he is not able to do the work after accepting the contract, he will be liable to pay damages to the Bank including the expenses & charges, which the Bank have to pay for getting such work done.

- The above act of abandonment of work would automatically debar the vendor from any further dealings with the Bank and the EMD amount would also be forfeited. In case the call / complaint is not resolved, the vendor will have to log a complaint with the supplier / service provider and monitor the call till its resolution. The vendor will be required to provide the Bank with Help desk / call resolution statistics on a fortnightly basis or as advised by the Bank from time to time. The details provided should include:

    - Calls logged on daily basis with time & allotted call / complaint number / equipment make / model / Sr. Nos.

    - Nature of complaint.

    - Statistic on the response time / resolution time.

    - Monitoring / follow-up with the supplier service provider in case of equipment under warranty.

- A bank guarantee amounting to 10% of AMC value shall be submitted to the Bank for AMC tenure, once the contract is awarded. The Earnest Money Deposit would be refunded after submission of the guarantee.

- The vendor would be responsible to manage / maintain the Asset Inventory based on the Equipment Unique Serial No. including the hardware movement information from one location to another. The vendor will be required to check and monitor the progress of next delivery and installation.

- The vendor would be required to maintain and submit to our office, on quarterly basis, location wise inventory list, duly updated with details of new installation if any and incorporating the hardware movement during the period under reference.

- The vendor should not violate IPR during the entire process of maintenance, including procurement, installation, removal/disposal of the systems and parts thereof along with all associated software, if any.

- If Bank desires to shift the EQUIPMENT to a new site and install it thereat urgently, THE VENDOR shall be informed the same immediately. Bank shall bear transportation charges for such shifting and THE VENDOR shall provide necessary assistance to Bank in doing so. Charges for dismantling /re-installation will not be payable in such case.

Disclaimer:

Pease note that this is only an invitation for submission of bid and without any commitment on the part of the Bank to place order, and/or purchase of any hardware / UPS systems/Services. The Bank will not be bound to accept the lowest bid and reserves the right to accept or reject any or all received offers without assigning any reason whatsoever.