LIST OF APPROVED MAKES OF    MATERIALS

ENTIRE MATERIAL LISTED BELOW SHOULD BE FIRST APPROVED BY THE BANK AND CONSULTANT BEFORE EXECUTING. EQUIVALENT CAN BE USED ONLY IF LISTED MATERIAL IS NOT AVAILABLE. HOWEVER ANY EQUIVALENT BRAND (IF REQUIRED) HAS TO BE USED ONLY AFTER ARCHITECT’S/BANK’S AUTHORITY APPROVAL.

| S. No. | Item | Specified Material |  |
| --- | --- | --- | --- |
| 1 | False Ceiling- |  |  |
|  | 1)Gypsum Board | 1). 12.5mm thick Gypsum Board of Gypsum India Ltd with sections of 26 gauge GI sheet of “Gypsum India Ltd.” Company or equivalent. |  |
|  | 2)Armstrong Tiles | 2). Armstrong 600x600x(12-15 mm thick) perforated tiles as per “Armstrong Pvt. Ltd.” company’s specifications or equivalent. |  |
| 2 | Aluminum Sections | 16-18 Gauge anodized Aluminum tubular sections with 20 micron (black) of 50x50mm, 50x40mm for partition and 16-18 gauge anodized Aluminum sections of 40x115mm for bottom rail & top rails of doors, 40x150mm lock rail and 40x20mm plain for shutters of the sliding window. or equivalent. |  |
|  |  | All aluminum section to be anodized in black shade and shall be of “Jindal/Nalco/ Hindalco or equivalent.”. |  |
|  | 1.Partition |  |  |
|  | 2.Door |  |  |
| 3 | Aluminum Grill | Aluminum grill of 8- 10 mm dia. rod with 75x75mm mesh DG 202 of “Jindal/Nalco/Hindalco or equivalent.” |  |
| 4 | MDF/Particle Board | 12 mm thick both side laminated “Greenlam /Archidlam /Century or equivalent.” with Ivory/ Beige shade BSL, Interior grade IS: 12823. |  |
| 5 | 1.Plywood/ Block Board (BWP/BWR) | 1) Phenol bonded, water proof, plywood of all required thickness (6mm,9mm, 12mm, 19mm and 25mm) of “Century, Duro, Archid or equivalent.” conforming to IS: 303, IS: 710 & IS:1659 |  |
|  | 2. Plywood/ Block Board | 2) MRIS: 303. |  |
| 6 | Wood | Well-seasoned teak-wood |  |
| 7 | Moulding & Lipping | 1st Quality Teak Wood . |  |
| 8 | Wood Preservative | “ASIAN/ NEROLAC/ BERGER/ICI/ DULUX or equivalent.” |  |
| 9 | Adhesive | “FEVICOL ( SH)/ PIDILITE or equivalent.” |  |
| 10 | Glass | Plain float glass “Modi / Saint Gobain or equivalent.” of all thickness |  |
| 11 | Lock/Night Latches | “GODREJ/ LINK/HARRISON or equivalent.” |  |
| 12 | Hydraulic Door closer | “DORMA, GODREJ or equivalent.” confirming to IS:3564:1986 |  |
| 13 | Floor Spring (Double action 100 kg. -150 kg) | “GODREJ, DORMA or equivalent.” confirming to IS: 6315:1992 & IS:7197:1972 |  |
| 14 | Drawer Channel/ Slider (Telescopic) | Sleek computer keyboard slide of required lengh mounting telescopic, steel ball slider STDS series keyboard of “EARL BIHARI, EBCO, HETTICH, GODREJ or equivalent.”. |  |
| 15 | Key Board Drawer/Tray | Ready to use, computer keyboard tray KBT series keyboard of “EARL BIHARI , EBCO, HETTICH, GODREJ or equivalent.”. |  |
| 16 | Hard ware | All the necessary hardware shall be of ISI marked with best quality/ and as per Bank’s approval. |  |
| 17 | Teak wood | Beading and Moulding to be of first quality teak wood. |  |
| 18 | Paint | 1.Acrylic paint/ Luster Paint:- “ROYALE, ICI, ASIAN DULUX/NEROLAC or equivalent.” |  |
|  | Off white, Desert White, Cream | 2.Oil bound distemper:- “ROYALE, ICI, ASIAN DULUX/NEROLAC or equivalent.” |  |
|  |  | 3. Synthetic Enamel Paint:- “ROYALE, ICI, ASIAN DULUX/NEROLAC or equivalent.” |  |
|  |  | 4. Texture Paint:- “WEATHER COAT, EXTERIOR, APEX, SNOCEM, ASIAN or equivalent.” Exterior Crusade 0684 |  |
| 19 | Flooring | 1. Vitrified tiles: - 600x600x (8-10 mm thick) Premium Range “NITCO/ MARBONITE/ JOHNSON or equivalent.” |  |
|  | (Off white) | 2. Ceramic Tiles:-“NITCO/ MARBONITE / JOHNSON or equivalent.” |  |
|  |  | 3. Vinyl Flooring:- 2mm thick “Royale, LG, ASIAN KRISHNA, ARMSTRONG or equivalent.” |  |
| 20 | Roller /Venetian Blinds (Off white, Abstract Beige B/O-0002 | “VISTA, MAC, AUROLUX or equivalent.”. |  |
| 21 | Chairs with fabric Red and Blue as per Bank’s standardization | “GODREJ, METHODEX, FEATHERLITE, DURIAN, WIPRO, AMARDEEP or equivalent.” (High, Mid, Low back and visitors chairs) |  |
| 22 | Visitors Seating | Chrome plated Perforated seats OF ABOVE BRANDS |  |
|  |  | 3seater and 2seater |  |
| 23 | Rubber/ Polyurethane /Tapestry/Leather Foam | Foam of all thickness of 40-50 density HD U- Foam of “Dunlop, MM, TATA or equivalent.”. |  |
| 24 | Wash Basin | Vitreous China, conforming to IS: 2556 “Hindware /Cera /Johnson /Parryware or equivalent.”. |  |
| 25 | WC (EWC/Orissa Pan) | Vitreous china, conforming to IS:2556 “HINDWARE/CERA/JOHNSON/PARRYWARE or equivalent.”. |  |
| 26 | GI Pipes | “C”- Class GI pipes, for all the diameters, “JINDAL, BINDAL, TATA or equivalent.” |  |
| 27 | Tap & Flush cock | CP Finish bib cock and pillar cock, flush cock. “PLUMBER, JENITH, JAL, JAGUAR, MAC,BELL or equivalent.” |  |
| 28 | Sink | Stainless steel sink. “NIRALI or equivalent.” |  |
| 29 | Cement | Best quality, 53 Grade (OPC)- “ACC, AMBUJA, BINANI, BIRLA or equivalent. confirming to IS:1489-1976 |  |
| 30 | Steel | Hot rolled deformed bars confirming to IS:1139-1966 (Fe-415 HYSD) “TATA, Jindal, Rathi SAIL, RINL” |  |
| 31 | Aggregates | Aggregates shall comply with the requirements of IS:383-1970 |  |
| 32 | Brick Works | All brick work shall confirm to IS:2212-1962 |  |
| 33 | Reinforcement Bending and Fixing Works | Bending and fixing of bars for concrete works shall be as per IS:2502-2009 |  |
| 34 | RCC/PCC Works | All RCC/PCC works shall confirm to IS:456-2000 |  |
| 35 | Aluminum Composite Panel | “Alstone / Alucobond /Eurobond or equivalent.” |  |
| 36 | Modular Work Stations | “Godrej, Methodex, Wipro, Shapoorji Paloonji, Featherlite or equivalent.” |  |

ELECTRICAL

| S. N. | Items | Make | Code |
| --- | --- | --- | --- |
| 1 | MCCBs, MCBs, ELCBS, RCCBs, DB, ICTPN, TP, HRC fuse, Change over switch, Switch Fuse Unit | L&T, Legrand, Siemens or as equivalent. | IS: 8828 for MCB IS:13947 for MCCB IS:12640 for RCCB IS:13703 for HRC fuse IS:13947 for SFU |
| 2 | FRLS insulated Elect. Wires Sheathed/ unsheathed, Flexible LT cable, Multi core/single core Cable, Flat cable for submersible pumps | Finolex, Polycab, RR or as equivalent. | IS: 694 for PVC cable 1.1 KV GRADE-FRLS |
| 3 | Rotary Switches. Selector Switches | L&T, GE, ABB, Siemens or as equivalent. | Relevant IS |
| 4 | Exhaust fan ,Pedestal fans, Ceiling fan | Crompton, Orient, Usha or as equivalent. | IS: 374 for ceiling fan IS: 2312 for Exhaust fan |
| 5 | Electronic Energy Meter | L&T,HPL, ABB or as equivalent. | IS:13779/1999 |
| 6 | Central Air Conditioning Plants , Package type plant ,Window/Split AC, Cassette type AC | Toshiba, Daikin, Hitachi or as equivalent. | *Only 3 star and above rating in Window/Split/Cassette AC |
| 7 | Electrical accessories Modular -switch, Plugs sockets, ceiling rose, Angle holder, holders | Crabtree, MK, Legrand or as equivalent. | IS: 3854 for switches IS: 1293 for plugs& sockets IS: 371 for ceiling rose IS: 1258 for lamp holder Bakelite |
| 8 | Bell Buzzer | Anchor, Cona, Leader or as equivalent. | IS:2268 |
| 9 | Electronic fan regulator | Crabtree, MK, Legrand or as equivalent. | IS:11037 |
| 10 | PVC Conduit pipe & Casing -capping for electrical wiring | AKG, Setia, BEC (ISI) 2 mm thick or as equivalent. | IS:9537/93 |
| 11 | Current Transformer | Siemens, L&T, Schneider or as equivalent. | IS: 2705 |
| 12 | Relays | Siemens, L&T, ABB, BHEL, GE or as equivalent. | IS: 3231/65 |
| 13 | Data Cable | D Link or as equivalent. | (With 15 years certification) |
| 14 | Light Fittings | LED – Philips/Osram or as equivalent. |  |
| 15 | Telephone Cable | Delton, Finolex, National or as equivalent. | (Conductor dia – 0.61 sqmm) |
| 16 | Industrial Socket with box | MDS Legrand – 32 amp / Hager L&T or as equivalent. |  |
| 17 | Changeover Switches | Havells – On Load (Euro Load) or as equivalent. |  |
| 18 | Panel Board | 16 swg CRCA sheet steel | Fabricated and vermin proof and dust proof with necessary stiffners with indicators of Tele mechenique / L&T and Input/ Output Volt & Ampere Meter |

SPECIFICATION OF WORKMANSHIP: -

1)      All the exposed surfaces (that come in first sight or in direct vision) such as top/ front/ sides of counter, table etc. shall be covered with laminates/ tapes/border.

2)      All the hidden exposed surfaces (that does not come in first sight or in direct vision) shall be finished with 0.8 mm thick laminate of Green lam/ Archidlam / Sunmica/ Formica and there shall be no putty, primer or any oil bonded synthetic enamel paint in these areas.

3)      All the exposed edges and corners of plywood of 12mm & 18mm shall be protected by nailing wooden beads/border of required size.

4)      All the wooden beading/batons shall be finished with high-class sprit polish in natural shade.

5)      All the exposed edges and corners of furniture shall be comfortably and smoothly chamfered/ rounded off to avoid any sharp and pointed ends.

6)      A good surface preparation shall be done prior to applying primer/putty/paint/polish either on walls, ceiling or on furniture.

7)      All the finishing shall be done with due care & perfection so that final quality/look/appearance/glare/shine achieved is of the required standard and satisfaction.

8)      All the operative units/members of items, fixed hardware/ fittings/ fixture etc. such as locks, levers, hinges, door closures, latches etc. shall be adequately smooth and well in operation/performance at the time of handing over work/site to the Bank.

Name, Signature of the Auth. Signatory, with date, company/firm’s stamp